|  | # Mechanicsville Volunteer Fire Department, Inc. # Standard Operating Guidelines |  |
| --- | --- | --- |
|  | # Subject: The Use of Self Contained Breathing Apparatus (SCBA) | # SOG # 1-11 |
|  |  | Initiated 01/01/97 |
|  | Approved: Fire Chief John B. Raley, Jr. | #### Revised 01/23/03 |

***CURRENTLY UNDER REVISION***

##### PURPOSE

- This procedure establishes guidelines for the use of self-contained breathing apparatus by the members of the Mechanicsville Volunteer Fire Department.

##### PROCEDURES

1.	Self-contained breathing apparatus will be worn on any incident where there is a chance that toxic gases may be present.

- All firefighters entering the hazardous environment will be masked up. Any firefighters that are not masked up will remain outside the hazardous environment.

- Probationary firefighters will not mask up under any circumstances. They must have completed the MFRI Firefighter I course before they will be allowed to mask up.

- Self-contained breathing apparatus will remain on until all hazardous gases have been removed. No unmasked personnel will enter the hazardous environment. If this occurs, the individual will be dealt with accordingly.

- All personnel will remain masked up until the TMX-410 Air Monitor has been taken through the area and has a safe reading in all fields.

- All firefighters will turn on their “PASS” devices when they are breathing air.

NOTE: This is for the SCBA that do not have automatic “PASS” devices                         installed on them.